Beni-suef University                                                                    Department of

Analytical chemistry                                                                                                 Faculty of pharmacy

First year students

Student's name:

Student's number:

Determination of ( Mg+2 /Cl-1) mixture:

a-For determination of Mg+2

Transfer 10 ml sample by pipette into a clean flask, add 1 ml ammonia buffer and few spicks of EBT and then use 0.01 M EDTA as a titrant until end point (Wine red to Full blue).

b- For determination of CL-1

Transfer 10 ml of sample by pipette into a new flask, add 1 ml neutral chromate and then use

N/20 AgNO3as a titrant until appearance of buff ppt.

| Average | Third reading | Second reading | First reading |  |
| --- | --- | --- | --- | --- |
|  |  |  |  | Mg+2 |
|  |  |  |  | CL-1 |

Calculation:

Mg+2(F=0.012036)

CL-1(F=0.00925)